## Worksheet
名称 | 编码 | 图标 | 设备可控 | 控制选项 | 属性 | 型号
温湿度传感器 | 1280 | icon-dial2 | 0 |  | {"as_time":"08:00~08:05","tn_field":"Tem","host_ip":"192.168.0.161","Tem":"℃","monitor":"istatus,温湿度状态,,;Tem,温度,0,℃;Hum,湿度,0,%","figure":",istatus,,;dial3,Tem,50,℃;dial3,Hum,100,%","exhibition":"istatus,温湿度状态,;Tem,温度,℃;Hum,湿度,%","briefing":"Tem,温度,℃;Hum,湿度,%","chart":"Tem,温度,℃;Hum,湿度,%","history":"Tem,温度,℃;Hum,湿度,%","statistics":"Tem","coefficient":"Tem,0.1;Hum,0.1"} | 1
定位漏水控制器 | 1536 | icon-water | 0 |  | {"monitor":"istatus,定位漏水状态,4,;LineRB,红黑线状态,4,;LineYG,黄绿线状态,4,;Lmd,灵敏度,,;Cable,线缆长度,0,米","figure":"11,istatus,,;,LineRB,,;,LineYG,,;,Lmd,,;,Cable,,米","exhibition":"istatus,定位漏水状态,","briefing":"istatus,定位漏水状态,","history":"istatus,定位漏水状态,","re_istatus":"0,正常;1,告警"} | 1
区域漏水控制器（485方式） | 1536 | icon-water | 0 |  | {"monitor":"istatus,漏水状态,,;Status,漏水状态,4,","figure":",istatus,,;27,Status,1,","exhibition":"istatus,漏水状态,","briefing":"istatus,漏水状态,","chart":"istatus,漏水状态,","re_Status":"0,正常;1,告警"} | 2
空调控制器（单机版） | 1792 | icon-kongtiao3 | 1 | state;开关机;onoff;0;0,1;null ext3;温度;processbar;26;18,30;℃;tem mode;模式;radiogroup;制冷;制冷,制热;null btn;操作;button | {"monitor":"istatus,空调控制器,,;Hfkwd,回风温度,0,℃;Sfkwd,送风温度,0,℃;Ht,上限温度,,;Lt,下限温度,,;Ct,设置温度,,;Dl,当前电流,,A;Hdl,电流上限,,A;Ldl,电流下限,,A;StatusV,当前状态,4,","figure":",istatus,,;05,Hfkwd,50,℃;06,Sfkwd,50,℃;,Ht,,;,Lt,,;,Ct,,;,Dl,,A;,Hdl,,A;,Ldl,,A;03,StatusV,,","exhibition":"istatus,空调控制器,;Hfkwd,回风温度,℃;Sfkwd,送风温度,℃","briefing":"Hfkwd,回风温度,℃;Sfkwd,送风温度,℃;StatusV,当前状态,","chart":"istatus,空调控制器,","coefficient":"Hfkwd,0.01;Sfkwd,0.01;Dl,0.01;Hdl,0.01;Ldl,0.01","re_StatusV":"0,关机;1,制冷;2,制热"} | 1
声光报警器 | 2304 | icon-23 | 1 |  | {"iDo":"1"} | 0
三相电量仪 | 256 | icon-18 | 0 |  | {"monitor":"istatus,市电状态,,;Ygzdn,总电能,,KWH;Zyggl,总有功功率,,W;Zwggl,总无功功率,,Var;Zszgl,总视载功率,,VA;Zglys,总功率因素,,;Ady,A相电压,0,V;Bdy,B相电压,0,V;Cdy,C相电压,0,V;Adl,A相电流,0,A;Bdl,B相电流,0,A;Cdl,C相电流,0,A","figure":",istatus,,;,Ygzdn,,KWH;,Zyggl,,W;,Zwggl,,Var;,Zszgl,,VA;,Zglys,,;meter,Ady,300,V;meter,Bdy,300,V;meter,Cdy,300,V;meter,Adl,100,A;meter,Bdl,100,A;meter,Cdl,100,A","exhibition":"istatus,市电状态,;Ady,A相电压,V;Bdy,B相电压,V;Cdy,C相电压,V","briefing":"Ady,A相电压,V;Bdy,B相电压,V;Cdy,C相电压,V;Adl,A相电流,A;Bdl,B相电流,A;Cdl,C相电流,A","history":"Ady,A相电压,V;Bdy,B相电压,V;Cdy,C相电压,V","coefficient":"Ygzdn,0.001;Zglys,0.001;Ady,0.1;Bdy,0.1;Cdy,0.1;Adl,0.01;Bdl,0.01;Cdl,0.01","re_istatus":"1,正常;0,告警"} | 0
单相电量仪 | 256 | icon-18 | 0 |  | {"as_time":"08:00~08:05","monitor":"istatus,市电状态,,;Ygzdn,总电能,,KWH;Ayggl,有功功率,,W;Awggl,无功功率,,Var;Aszgl,视在功率,,VA;Aglys,功率因数,,;Ady,电压,0,V;Adl,电流,0,A","figure":",istatus,,;,Ygzdn,,KWH;,Ayggl,,W;,Awggl,,Var;,Aszgl,,VA;,Aglys,,;meter,Ady,300,V;meter,Adl,50,A","exhibition":"istatus,市电状态,;Ady,电压,V;Adl,电流,A","briefing":"Ady,电压,V;Adl,电流,A","statistics":"Ygzdn;Ady;Adl","coefficient":"Ygzdn,0.001;Ayggl,0.1;Awggl,0.1;Aszgl,0.1;Ady,0.1;Adl,0.1"} | 35
门禁 | 3331 | icon-16 | 0 |  | {"as_time":"08:00~08:05","monitor":"Door,,,","figure":",istatus,,;,Rec,,;,Card,,;29,Door,,;,St,,;,LogDate,,","exhibition":"Door,,","chart":"Door,,","statistics":"Door","eq_log":"istatus,;Rec,;Card,;Door,;St,;LogDate,"} | 0
红外探测器 | 3590 | icon-hongwai2 | 0 |  | {"monitor":"istatus,红外状态,4,","figure":"14,istatus,1,","exhibition":"istatus,红外状态,","briefing":"istatus,红外状态,"} | 0
烟雾探测器 | 3591 | icon-20 | 0 |  | {"1122":"111","as_time":"08:00~08:05","monitor":"istatus,烟感状态,4,","figure":"13,istatus,1,","exhibition":"istatus,烟感状态,","briefing":"istatus,烟感状态,","re_istatus":"0,正常;1,告警"} | 0
区域漏水控制器（开关量） | 3592 | icon-water | 0 |  | {"as_time":"08:00~08:05","monitor":"istatus,漏水监测,4,","figure":"12,istatus,1,","exhibition":"istatus,漏水监测,","briefing":"istatus,漏水监测,"} | 0
配电空开监测仪 | 512 | icon-ec4 | 0 |  | {"as_time":"08:00~08:05","monitor":"istatus,配电检测状态,,;sd1,空开1,4,;sd2,空开2,4,;sd3,空开3,4,;sd4,空开4,4,;sd5,空开5,4,;sd6,空开6,4,","figure":",istatus,,;01,sd1,0,;01,sd2,0,;01,sd3,0,;01,sd4,0,;01,sd5,0,;01,sd6,0,","exhibition":"istatus,配电检测状态,","briefing":"sd1,空开1,;sd2,空开2,;sd3,空开3,;sd4,空开4,;sd5,空开5,;sd6,空开6,","re_sd1":"0,闭合;1,断开","re_sd2":"0,闭合;1,断开","re_sd3":"0,闭合;1,断开","re_sd4":"0,闭合;1,断开","re_sd5":"0,闭合;1,断开","re_sd6":"0,闭合;1,断开"} | 0
山特3KVA UPS | 768 | icon-22 | 0 |  | {"as_time":"08:00~08:05","monitor":"istatus,UPS状态,,;Vin1,输入电压,0,V;Fin,输入频率,,Hz;Vout,输出电压,0,V;Aout,输出负载,,%;Tem,环境温度,,℃;b7,蜂鸣器,,;b6,UPS状态,,;b5,UPS模式,,;b4,机型属性,,;b3,UPS故障,,;b2,旁路模式,,;b1,电池电压,,;b0,市电电压,,;Vbatt,电池电压,,V","figure":",istatus,,;meter,Vin1,300,V;,Fin,,Hz;meter,Vout,250,V;26,Aout,,%;,Tem,,℃;,b7,,;,b6,,;,b5,,;,b4,,;,b3,,;,b2,,;,b1,,;,b0,,;,Vbatt,,V","exhibition":"istatus,UPS状态,;Vin1,输入电压,V;Vout,输出电压,V","briefing":"Vin1,输入电压,V;Vout,输出电压,V;Aout,输出负载,%","coefficient":"Vin1,0.1;Fin,0.1;Vout,0.1;Aout,0.1;Tem,0.1;Vbatt,0.01","re_b7":"0,关闭;1,开启","re_b6":"0,关闭;1,开启","re_b5":"0,非测试;1,测试","re_b4":"0,在线式;1,后备式","re_b3":"0,否;1,是","re_b2":"0,否;1,是","re_b1":"0,正常;1,低电压","re_b0":"0,正常;1,异常"} | 0
微耕门禁 | 300000 | icon-16 | 0 |  | {"wg_login":"http://192.168.1.157/ACT_ID_1","wg_username":"abc","wg_password":"123"} | 0
动环监控主机 | 0 | icon-17 | 0 |  | {"host_ip":"192.168.10.161","monitor":"cpu1,平均负载,,%;cpu5,近5分钟平均负载,,%;cpu15,近15分钟平均负载,,%;memtotal,总内存,,KB;memfree,剩余内存,,KB;membuf,缓冲内存,,KB;memcach,缓存内存,,KB","figure":",istatus,,;26,cpu1,100,%;26,cpu5,,%;26,cpu15,,%;,memtotal,512000,KB;,memfree,,KB;,membuf,,KB;,memcach,,KB","exhibition":"istatus,监控主机,","coefficient":"cpu1,0.1;cpu5,0.1;cpu15,0.1;memtotal,1;memfree,1;membuf,1;memcach,1"} | 0
海康视频 | 200000 | icon-19 | 0 |  | {"hk_ip":"182.0.0.","hk_port":"80","hk_username":"admin","hk_password":"admln12345","hk_channels":"1","hk_eqport":"8000"} | 0
萤石视频 | 100000 | icon-19 | 0 |  | {"hls":"1","deviceSerial":"1","channelNo":"1"} | 0
空调控制器-新版 | 4944 | icon-kongtiao4 | 1 | cmdid;电源;radiogroup;制冷开机;制冷开机,制热开机,关机;null cold;制冷温度;processbar;18;18,27;℃;null hot;制热温度;processbar;18;18,27;℃;null | {"monitor":"istatus,状态,,;V40001,当前湿度,,%;V40002,当前温度,,°C","figure":",istatus,,;dial3,V40001,,%;dial3,V40002,,°C","exhibition":"V40001,当前湿度,%;V40002,当前温度,°C","briefing":"V40001,当前湿度,%;V40002,当前温度,°C","chart":"istatus,状态,;V40001,当前湿度,%;V40002,当前温度,°C","coefficient":"V40001,0.1;V40002,0.1"} | 0
NVR | 600000 | icon-17 | 0 |  | {"hk_ip":"192.168.8.240","hk_port":"80","hk_username":"admin","hk_password":"xdk12345"} | 0