## User
名称 | 编码 | 图标 | 设备可控 | 控制选项 | 属性 | 型号
监控主机 | 0 | icon-17 | 0 |  | {"host_ip":"192.168.0.17","monitor":"istatus,监控主机,,;cpu1,平均负载,,%;cpu5,近5分钟平均负载,,%;cpu15,近15分钟平均负载,,%;memtotal,总内存,,KB;memfree,剩余内存,,KB;membuf,缓冲内存,,KB;memcach,缓存内存,,KB","figure":",istatus,,;,cpu1,100,%;,cpu5,,%;,cpu15,,%;,memtotal,512000,KB;,memfree,,KB;,membuf,,KB;,memcach,,KB","exhibition":"istatus,监控主机,","coefficient":"cpu1,0.1;cpu5,0.1;cpu15,0.1;memtotal,1;memfree,1;membuf,1;memcach,1","energy_avg_kwh":"cpu1"} | 0
艾默生精密空调-2 | 2057 | icon-kongtiao4 | 0 |  | {"monitor":"istatus,,4,;tem,室内温度,0,℃;hum,室内湿度,0,%;temset,设定温度,0,℃;humset,设定湿度,0,%;s_pow,空调状态,4,;s_fj,风机,4,;s_zl,制冷,0,;s_jrq,加热器,4,;s_jsq,加湿器,4,;s_csj,除湿机,4,;s_gy,高压报警,4,;s_dy,低压报警,4,;s_gw,高温报警,4,;s_dw,低温报警,4,;s_gs,高湿报警,4,;s_ds,低湿报警,4,;s_elec,电源故障,4,","figure":",istatus,,;dial3,tem,,℃;dial3,hum,,%;dial3,temset,,℃;dial3,humset,,%;,s_pow,,;,s_fj,,;,s_zl,,;,s_jrq,,;,s_jsq,,;,s_csj,,;,s_gy,,;,s_dy,,;,s_gw,,;,s_dw,,;,s_gs,,;,s_ds,,;,s_elec,,","exhibition":"tem,室内温度,℃;hum,室内湿度,%;temset,设定温度,℃;humset,设定湿度,%","chart":"tem,室内温度,℃;hum,室内湿度,%;temset,设定温度,℃;humset,设定湿度,%","history":"tem,室内温度,℃;hum,室内湿度,%;temset,设定温度,℃;humset,设定湿度,%","coefficient":"tem,0.1;hum,0.1;temset,0.1;humset,0.1","re_istatus":"0,正常;1,告警","re_s_pow":"0,停止;1,开启","re_s_fj":"0,停止;1,运行","re_s_zl":"0,停止;1,运行","re_s_jrq":"0,停止;1,运行","re_s_jsq":"0,停止;,","re_s_csj":"0,停止;1,运行","re_s_gy":"0,正常;1,告警","re_s_dy":"0,正常;1,告警","re_s_gw":"0,正常;1,告警","re_s_dw":"0,正常;1,告警","re_s_gs":"0,正常;1,告警","re_s_ds":"0,正常;1,告警","re_s_elec":"0,正常;1,告警"} | 0
温湿度传感器 | 1280 | icon-dial2 | 0 |  | {"monitor":"istatus,温湿度状态,,;Tem,温度,0,℃;Hum,湿度,0,%","figure":",istatus,,;dial3,Tem,,℃;12,Hum,,%","exhibition":"istatus,温湿度状态,;Tem,温度,℃;Hum,湿度,%","briefing":"istatus,温湿度状态,","chart":"istatus,温湿度状态,;Tem,温度,℃;Hum,湿度,%","history":"istatus,温湿度状态,;Tem,温度,℃;Hum,湿度,%","statistics":"istatus;Tem;Hum","coefficient":"Tem,0.1;Hum,0.1","eq_log":"istatus,温湿度状态","re_Tem":"0,正常;1,告警;2,故障;0,正常;1,告警;2,故障;,","re_Hum":"0,正常;1,告警;2,故障;0,正常;1,告警;2,故障","re_iTem":"0,正常;1,告警;2,故障","re_iHum":"0,正常;1,告警;2,故障"} | 1
区域漏水监测 | 1536 | icon-water | 0 |  | {"monitor":"istatus,漏水状态,,;Status,报警状态,4,;LineRB,红黑线断线,4,;LineYG,黄绿线断线报警,4,","figure":"12,istatus,,;,Status,,;,LineRB,,;,LineYG,,","exhibition":"istatus,漏水状态,;Status,报警状态,","chart":"istatus,漏水状态,","re_Kind":"0,区域式;1,定位式","re_Status":"0,正常;1,告警","re_LineRB":"0,正常;1,断线","re_LineYG":"0,正常;1,断线"} | 1
精密空调-STZ | 2098 | icon-kongtiao4 | 0 |  | [] | 0
艾默生精密空调-1 | 2056 | icon-kongtiao4 | 0 |  | {"monitor":"istatus,工作状态,4,;ds,定时,4,;s_fj,风机,4,;r_tem,回风温度,0,℃;r_hum,回风湿度,0,%RH;temset,设定温度,0,℃;humset,设定湿度,0,%RH","figure":",istatus,,;,ds,,;,s_fj,,;dial3,r_tem,,℃;dial3,r_hum,,%RH;dial3,temset,,℃;dial3,humset,,%RH","exhibition":"r_tem,回风温度,℃;r_hum,回风湿度,%RH;temset,设定温度,℃;humset,设定湿度,%RH","chart":"r_tem,回风温度,℃;r_hum,回风湿度,%RH;temset,设定温度,℃;humset,设定湿度,%RH","history":"r_tem,回风温度,℃;r_hum,回风湿度,%RH;temset,设定温度,℃;humset,设定湿度,%RH","coefficient":"r_tem,0.1;r_hum,1;temset,0.1;humset,1","re_istatus":"0,正常;1,告警","re_ds":"0,停止;1,运行","re_s_fj":"0,停止;196,运行"} | 0
三相市电监测 | 256 | icon-18 | 0 |  | {"monitor":"istatus,三相电量仪,,;Adl,A相电流,0,A;Bdl,B相电流,,A;Cdl,C相电流,,A","figure":",istatus,,;,Ygzdn,,KWH;,Zyggl,,W;,Zwggl,,Var;,Zszgl,,VA;meter,Ady,450,V;meter,Bdy,450,V;meter,Cdy,450,V;meter,Adl,100,A;,Bdl,100,A;meter,Cdl,100,A","exhibition":"istatus,三相电量仪,;Adl,A相电流,A;Bdl,B相电流,A;Cdl,C相电流,A","history":"Cdy,,V;Adl,A相电流,A;Bdl,B相电流,A;Cdl,C相电流,A","statistics":"Ygzdn","coefficient":"Ygzdn,0.001;Zwggl,0.001;Zszgl,0.001;Ady,0.1;Bdy,0.1;Cdy,0.1;Adl,0.01;Bdl,0.01;Cdl,0.01"} | 0
海康半球 | 3079 | icon-19 | 0 |  | {"monitor":"istatus,工作状态,4,;info,,,","figure":",istatus,,;,info,,","exhibition":"istatus,工作状态,","briefing":"info,,","camera":"info,A3-3079","re_istatus":"0,正常;1,告警"} | 0
烟雾探测器 | 3591 | icon-20 | 0 |  | {"monitor":"istatus,烟感状态,4,","figure":"13,istatus,1,","exhibition":"istatus,烟感状态,","briefing":"istatus,烟感状态,","chart":"istatus,烟感状态,","statistics":"istatus","re_istatus":"0,正常;1,告警"} | 0
UPS-EA66 | 768 | icon-22 | 0 |  | [] | 3
UPS-APC | 792 | icon-22 | 0 |  | [] | 0
UPS-EST | 793 | icon-22 | 0 |  | {"monitor":"istatus,工作状态,4,;Vin1,输入电压1,0,V;Vin2,输入电压2,0,V;Vin3,输入电压3,0,V;Vout1,输出电压,4,V;Vout2,输出电压2,0,V;Vout3,输出电压,0,V;VB1,旁路电压1,,V;VB2,旁路电压2,,V;VB3,旁路电压3,,V;Iin1,输入电流1,,A;Iin2,输入电流2,,A;Iin3,输入电流3,,A;Iout1,输出电流1,,A;Iout2,输出电流2,,A;Iout3,输出电流3,,A;IB1,旁路电流1,,A;IB2,旁路电流2,,A;IB3,旁路电流3,,A;Fin1,输入频率1,,HZ;Fin2,输入频率2,,HZ;Fin3,输入频率3,,HZ ;Fout1,输出频率1,,HZ ;Fout2,输出频率2,,HZ;Fout3,输出频率3,,HZ;FB1,旁路频率1,,HZ ;FB2,旁路频率2,,HZ;FB3,旁路频率3,,HZ;Vbatt,电池电压,,V;Pbatt,电池容量,,%","figure":",istatus,,;meter,Vin1,250,V;meter,Vin2,250,V;meter,Vin3,250,V;meter,Vout1,250,V;meter,Vout2,250,V;meter,Vout3,250,V;,VB1,,V;,VB2,,V;,VB3,,V;,Iin1,,A;,Iin2,,A;,Iin3,,A;,Iout1,,A;,Iout2,,A;,Iout3,,A;,IB1,,A;,IB2,,A;,IB3,,A;,Fin1,,HZ;,Fin2,,HZ;,Fin3,,HZ ;,Fout1,,HZ ;,Fout2,,HZ;,Fout3,,HZ;,FB1,,HZ ;,FB2,,HZ;,FB3,,HZ;,Vbatt,,V;,Pbatt,,%","exhibition":"Vin1,输入电压1,V;Vin2,输入电压2,V;Vin3,输入电压3,V;Vout1,输出电压,V;Vout2,输出电压2,V;Vout3,输出电压,V","chart":"Vin1,输入电压1,V;Vin2,输入电压2,V;Vin3,输入电压3,V;Vout1,输出电压,V;Vout2,输出电压2,V;Vout3,输出电压,V","history":"Vin1,输入电压1,V;Vin2,输入电压2,V;Vin3,输入电压3,V;Vout1,输出电压,V;Vout2,输出电压2,V;Vout3,输出电压,V","coefficient":"Vin1,0.1;Vin2,0.1;Vin3,0.1;Vout1,0.1;Vout2,0.1;Vout3,0.1;VB1,0.1;VB2,0.1;VB3,0.1;Iin1,0.1;Iin2,0.1;Iin3,0.1;Iout1,0.1;Iout2,0.1;Iout3,0.1;IB1,0.1;IB2,0.1;IB3,0.1;Fin1,0.1;Fin2,0.1;Fin3,0.1;Fout1,0.1;Fout2,0.1;Fout3,0.1;FB1,0.1;FB2,0.1;FB3,0.1;Vbatt,0.1;Pbatt,0.1","re_istatus":"0,正常;1,告警"} | 4